## COLDFLOW10-30-21 Load cells
LC1 | Countdown | Calibration Equation (x is lbs and y is raw) where positive is compression: y = -1.8833x + 8396799.75
8389572 | 60 | 3837.8113
8392465 | 60 | 2301.6779
3670015 | 60 | 2509841.6344
8512076 | 60 | -61209.7117
8388607 | 60 | 4350.2097
8450351 | 60 | -28434.7953
8388607 | 60 | 4350.2097
8512068 | 60 | -61205.4638
8389090 | 60 | 4093.745
3538943 | 60 | 2579438.6184
8450347 | 60 | -28432.6714
8389090 | 60 | 4093.745
8323071 | 60 | 39148.7017
8419489 | 60 | -12047.6026
8388849 | 60 | 4221.7119
262143 | 59 | 4319363.2188
8419484 | 59 | -12044.9477
16777215 | 59 | -4449856.7674
8419480 | 59 | -12042.8238
8388849 | 59 | 4221.7119
458751 | 59 | 4214967.7428
8404050 | 59 | -3849.7584
8388849 | 59 | 4221.7119
32767 | 59 | 4441157.9408
8404041 | 59 | -3844.9796
8388849 | 59 | 4221.7119
1769471 | 59 | 3518997.9026
8404046 | 59 | -3847.6345
8388849 | 59 | 4221.7119
1638399 | 58 | 3588594.8866
8404051 | 58 | -3850.2894
2097151 | 58 | 3345005.4426
8404050 | 58 | -3849.7584
8388849 | 58 | 4221.7119
16416767 | 58 | -4258465.0613
8419494 | 58 | -12050.2575
8388849 | 58 | 4221.7119
589823 | 58 | 4145370.7588
8396328 | 58 | 250.4912
4194303 | 58 | 2231453.6983
8396327 | 58 | 251.0221
10485759 | 58 | -1109201.5345
8404046 | 58 | -3847.6345
6291455 | 58 | 1117901.954
8404047 | 58 | -3848.1655
12582911 | 58 | -2222753.2788
8404046 | 58 | -3847.6345
8388849 | 57 | 4221.7119
1671167 | 57 | 3571195.6406
8404050 | 57 | -3849.7584
8388849 | 57 | 4221.7119
163839 | 57 | 4371560.9568
8404051 | 57 | -3850.2894
10485759 | 57 | -1109201.5345
8404050 | 57 | -3849.7584
4194303 | 57 | 2231453.6983
8419490 | 57 | -12048.1336
8388849 | 57 | 4221.7119
1015807 | 57 | 3919180.5607
8419488 | 57 | -12047.0716
8388849 | 57 | 4221.7119
16383999 | 56 | -4241065.8153
8404048 | 56 | -3848.6964
8388849 | 56 | 4221.7119
4259839 | 56 | 2196655.2063
8404056 | 56 | -3852.9443
8388849 | 56 | 4221.7119
2260991 | 56 | 3258009.2126
8404051 | 56 | -3850.2894
10485759 | 56 | -1109201.5345
8450378 | 56 | -28449.1318
8388849 | 56 | 4221.7119
1998847 | 56 | 3397203.1806
8404051 | 56 | -3850.2894
8389572 | 56 | 3837.8113
8388849 | 55 | 4221.7119
16646143 | 55 | -4380259.7834
8419486 | 55 | -12046.0097
8389090 | 55 | 4093.745
8388849 | 55 | 4221.7119
262143 | 55 | 4319363.2188
8404051 | 55 | -3850.2894
4194303 | 55 | 2231453.6983
8419498 | 55 | -12052.3815
8389573 | 55 | 3837.2803
16777215 | 55 | -4449856.7674
8450380 | 55 | -28450.1938
16777215 | 54 | -4449856.7674
8419498 | 54 | -12052.3815
4194303 | 54 | 2231453.6983
8419499 | 54 | -12052.9124
16777215 | 54 | -4449856.7674
8419494 | 54 | -12050.2575
8388849 | 54 | 4221.7119
1867775 | 54 | 3466800.1646
8404050 | 54 | -3849.7584
10485759 | 54 | -1109201.5345
8419495 | 54 | -12050.7885
16777215 | 54 | -4449856.7674
8419496 | 54 | -12051.3195
8389090 | 54 | 4093.745
8388849 | 54 | 4221.7119
16678911 | 53 | -4397659.0294
8404049 | 53 | -3849.2274
8388849 | 53 | 4221.7119
1310719 | 53 | 3762587.3467
8450394 | 53 | -28457.6276
16777215 | 53 | -4449856.7674
8419493 | 53 | -12049.7265
16777215 | 53 | -4449856.7674
8419492 | 53 | -12049.1956
8389090 | 53 | 4093.745
8388849 | 53 | 4221.7119
884735 | 53 | 3988777.5447
8404055 | 53 | -3852.4133
8388607 | 53 | 4350.2097
8450416 | 53 | -28469.3092
8388607 | 52 | 4350.2097
8404066 | 52 | -3858.2541
8388849 | 52 | 4221.7119
8290303 | 52 | 56547.9478
8404067 | 52 | -3858.7851
16777215 | 52 | -4449856.7674
8404068 | 52 | -3859.3161
14680063 | 52 | -3336305.0231
8450448 | 52 | -28486.3006
8389091 | 52 | 4093.214
1966079 | 52 | 3414602.4266
8450478 | 52 | -28502.2301
8388607 | 52 | 4350.2097
8512300 | 52 | -61328.6518
8388607 | 52 | 4350.2097
8450447 | 52 | -28485.7697
8389090 | 52 | 4093.745
8388849 | 51 | 4221.7119
8388849 | 51 | 4221.7119
8388849 | 51 | 4221.7119
8388849 | 51 | 4221.7119
6586367 | 51 | 961308.74
8404059 | 51 | -3854.5372
14680063 | 51 | -3336305.0231
8419509 | 51 | -12058.2223
16777215 | 51 | -4449856.7674
8404055 | 51 | -3852.4133
8388849 | 51 | 4221.7119
5537791 | 50 | 1518084.6121
8419509 | 50 | -12058.2223
8388607 | 50 | 4350.2097
8404061 | 50 | -3855.5992
8388849 | 50 | 4221.7119
8388849 | 50 | 4221.7119
8388849 | 50 | 4221.7119
8224767 | 50 | 91346.4398
8404063 | 50 | -3856.6612
8388849 | 50 | 4221.7119
6619135 | 50 | 943909.494
8404062 | 50 | -3856.1302
16777215 | 49 | -4449856.7674
8404057 | 49 | -3853.4753
14680063 | 49 | -3336305.0231
8404054 | 49 | -3851.8823
8388849 | 49 | 4221.7119
2949119 | 49 | 2892625.0465
8404050 | 49 | -3849.7584
8388849 | 49 | 4221.7119
3080191 | 49 | 2823028.0624
8404054 | 49 | -3851.8823
14680063 | 49 | -3336305.0231
8404052 | 49 | -3850.8204
10485759 | 49 | -1109201.5345
8404052 | 49 | -3850.8204
8388849 | 49 | 4221.7119
491519 | 48 | 4197568.4968
8450374 | 48 | -28447.0079
16777215 | 48 | -4449856.7674
8450380 | 48 | -28450.1938
8388849 | 48 | 4221.7119
2654207 | 48 | 3049218.2605
8450385 | 48 | -28452.8487
8388607 | 48 | 4350.2097
8450380 | 48 | -28450.1938
8388607 | 48 | 4350.2097
8404052 | 48 | -3850.8204
8388849 | 48 | 4221.7119
2752511 | 48 | 2997020.5225
8404052 | 48 | -3850.8204
4194303 | 48 | 2231453.6983
8404051 | 48 | -3850.2894
14680063 | 48 | -3336305.0231
8450390 | 48 | -28455.5036
8389573 | 47 | 3837.2803
14024703 | 47 | -2988320.103
8419494 | 47 | -12050.2575
8388607 | 47 | 4350.2097
8450396 | 47 | -28458.6895
8388849 | 47 | 4221.7119
1703935 | 47 | 3553796.3946
8404051 | 47 | -3850.2894
8388607 | 47 | 4350.2097
8450379 | 47 | -28449.6628
8388607 | 47 | 4350.2097
8404052 | 47 | -3850.8204
8388728 | 47 | 4285.9608
8388728 | 47 | 4285.9608
8388728 | 46 | 4285.9608
8388849 | 46 | 4221.7119
1966079 | 46 | 3414602.4266
8512147 | 46 | -61247.4115
8389573 | 46 | 3837.2803
14680063 | 46 | -3336305.0231
8450385 | 46 | -28452.8487
8390538 | 46 | 3324.8819
8389573 | 46 | 3837.2803
7733247 | 45 | 352335.1298
8450400 | 45 | -28460.8135
8389573 | 45 | 3837.2803
6815743 | 45 | 839514.0179
8450400 | 45 | -28460.8135
8388607 | 45 | 4350.2097
8450396 | 45 | -28458.6895
16777215 | 45 | -4449856.7674
8450400 | 45 | -28460.8135
8388849 | 45 | 4221.7119
3670015 | 45 | 2509841.6344
8396329 | 45 | 249.9602
8389090 | 45 | 4093.745
8389090 | 45 | 4093.745
8389090 | 44 | 4093.745
8389090 | 44 | 4093.745
8389090 | 44 | 4093.745
8388728 | 44 | 4285.9608
8389573 | 44 | 3837.2803
8388607 | 44 | 4350.2097
8404050 | 44 | -3849.7584
6291455 | 44 | 1117901.954
8419498 | 44 | -12052.3815
8388728 | 43 | 4285.9608
8388728 | 43 | 4285.9608
8388849 | 43 | 4221.7119
4030463 | 43 | 2318449.9283
8450407 | 43 | -28464.5303
8389090 | 43 | 4093.745
8388849 | 43 | 4221.7119
4489215 | 43 | 2074860.4843
8419508 | 43 | -12057.6913
16777215 | 42 | -4449856.7674
8404057 | 42 | -3853.4753
8388849 | 42 | 4221.7119
4816895 | 42 | 1900868.0242
8404061 | 42 | -3855.5992
16777215 | 42 | -4449856.7674
8404061 | 42 | -3855.5992
8388849 | 42 | 4221.7119
4456447 | 42 | 2092259.7303
8450396 | 42 | -28458.6895
8388607 | 42 | 4350.2097
8450410 | 42 | -28466.1233
8388849 | 42 | 4221.7119
6651903 | 42 | 926510.248
8404057 | 42 | -3853.4753
8388849 | 41 | 4221.7119
4128767 | 41 | 2266252.1903
8404054 | 41 | -3851.8823
8388849 | 41 | 4221.7119
2260991 | 41 | 3258009.2126
8404055 | 41 | -3852.4133
8388849 | 41 | 4221.7119
4489215 | 41 | 2074860.4843
8404054 | 41 | -3851.8823
12582911 | 41 | -2222753.2788
8404054 | 41 | -3851.8823
8388849 | 41 | 4221.7119
4653055 | 40 | 1987864.2542
8404054 | 40 | -3851.8823
6291455 | 40 | 1117901.954
8404053 | 40 | -3851.3514
8388849 | 40 | 4221.7119
3211263 | 40 | 2753431.0784
8404058 | 40 | -3854.0063
8388849 | 40 | 4221.7119
4947967 | 40 | 1831271.0402
8404055 | 40 | -3852.4133
12582911 | 40 | -2222753.2788
8404056 | 40 | -3852.9443
6291455 | 40 | 1117901.954
8404059 | 40 | -3854.5372
4194303 | 40 | 2231453.6983
8450402 | 40 | -28461.8754
8388607 | 40 | 4350.2097
8450409 | 40 | -28465.5923
8388607 | 39 | 4350.2097
8419507 | 39 | -12057.1603
12582911 | 39 | -2222753.2788
8404054 | 39 | -3851.8823
8388607 | 39 | 4350.2097
8404056 | 39 | -3852.9443
8388849 | 39 | 4221.7119
2981887 | 39 | 2875225.8005
8404054 | 39 | -3851.8823
4194303 | 39 | 2231453.6983
8404055 | 39 | -3852.4133
10485759 | 39 | -1109201.5345
8404056 | 39 | -3852.9443
12582911 | 39 | -2222753.2788
8419509 | 39 | -12058.2223
12582911 | 39 | -2222753.2788
8404055 | 39 | -3852.4133
8389090 | 39 | 4093.745
8388849 | 38 | 4221.7119
3276799 | 38 | 2718632.5864
8450389 | 38 | -28454.9727
16777215 | 38 | -4449856.7674
8404056 | 38 | -3852.9443
2097151 | 38 | 3345005.4426
8404056 | 38 | -3852.9443
8388849 | 38 | 4221.7119
4095999 | 38 | 2283651.4363
8404054 | 38 | -3851.8823
14680063 | 38 | -3336305.0231
8419500 | 38 | -12053.4434
4194303 | 38 | 2231453.6983
8404057 | 38 | -3853.4753
8388849 | 38 | 4221.7119
4620287 | 37 | 2005263.5002
8404055 | 37 | -3852.4133
12582911 | 37 | -2222753.2788
8404052 | 37 | -3850.8204
8388849 | 37 | 4221.7119
3506175 | 37 | 2596837.8644
8404056 | 37 | -3852.9443
8388849 | 37 | 4221.7119
4194303 | 37 | 2231453.6983
8404055 | 37 | -3852.4133
8388849 | 37 | 4221.7119
4259839 | 37 | 2196655.2063
8404053 | 37 | -3851.3514
16777215 | 37 | -4449856.7674
8404056 | 37 | -3852.9443
8388849 | 36 | 4221.7119
4751359 | 36 | 1935666.5162
8404058 | 36 | -3854.0063
8388728 | 36 | 4285.9608
8388728 | 36 | 4285.9608
8389573 | 36 | 3837.2803
8389090 | 36 | 4093.745
8388728 | 36 | 4285.9608
8388849 | 35 | 4221.7119 | MPV:ENERGIZED
3440639 | 35 | 2631636.3564
8396331 | 35 | 248.8982
8389090 | 35 | 4093.745
8388849 | 35 | 4221.7119
6553599 | 35 | 978707.986
8404062 | 35 | -3856.1302
8388849 | 35 | 4221.7119
6389759 | 35 | 1065704.216
8450422 | 35 | -28472.4951
8388607 | 35 | 4350.2097
8404059 | 35 | -3854.5372
8388849 | 34 | 4221.7119
4915199 | 34 | 1848670.2862
8404056 | 34 | -3852.9443
8388849 | 34 | 4221.7119
3768319 | 34 | 2457643.8964
8404058 | 34 | -3854.0063
8388849 | 34 | 4221.7119
3899391 | 34 | 2388046.9123
8404052 | 34 | -3850.8204
8388849 | 34 | 4221.7119
7634943 | 34 | 404532.8678
8404056 | 34 | -3852.9443
2097151 | 33 | 3345005.4426
8404054 | 33 | -3851.8823
8388849 | 33 | 4221.7119
5603327 | 33 | 1483286.1201
8404061 | 33 | -3855.5992
2097151 | 33 | 3345005.4426
8404060 | 33 | -3855.0682
8388849 | 33 | 4221.7119
5242879 | 33 | 1674677.8262
8404057 | 33 | -3853.4753
16777215 | 33 | -4449856.7674
8404055 | 33 | -3852.4133
8388849 | 33 | 4221.7119
7634943 | 33 | 404532.8678
8404059 | 33 | -3854.5372
8388849 | 32 | 4221.7119
3178495 | 32 | 2770830.3244
8404056 | 32 | -3852.9443
10485759 | 32 | -1109201.5345
8404057 | 32 | -3853.4753
8388849 | 32 | 4221.7119
5898239 | 32 | 1326692.9061
8404060 | 32 | -3855.0682
8388849 | 32 | 4221.7119
7307263 | 32 | 578525.3279
8404062 | 32 | -3856.1302
8388607 | 32 | 4350.2097
8404059 | 32 | -3854.5372
8388728 | 32 | 4285.9608
8388849 | 31 | 4221.7119
5931007 | 31 | 1309293.6601
8404058 | 31 | -3854.0063
8389090 | 31 | 4093.745
8388849 | 31 | 4221.7119
7700479 | 31 | 369734.3758
8396335 | 31 | 246.7743
16777215 | 31 | -4449856.7674
8404061 | 31 | -3855.5992
8388728 | 31 | 4285.9608
8388728 | 31 | 4285.9608
8388615 | 30 | 4345.9619 | NMV: ENERGIZED
8388623 | 30 | 4341.714
11517951 | 30 | -1657277.7837
8390540 | 30 | 3323.8199
2097151 | 30 | 3345005.4426
8404067 | 30 | -3858.7851
8388728 | 30 | 4285.9608
8388638 | 30 | 4333.7493
14606335 | 30 | -3297156.7196
8390539 | 30 | 3324.3509
8388638 | 30 | 4333.7493
14508031 | 29 | -3244958.9816
8390539 | 29 | 3324.3509
8388638 | 29 | 4333.7493
14585855 | 29 | -3286282.1908
8390540 | 29 | 3323.8199
2359295 | 29 | 3205811.4745
8392472 | 29 | 2297.961
8388638 | 29 | 4333.7493
14798847 | 29 | -3399377.2899
8392472 | 29 | 2297.961
16777215 | 29 | -4449856.7674
8392471 | 29 | 2298.492
8388638 | 29 | 4333.7493
14311423 | 29 | -3140563.5055
8390539 | 29 | 3324.3509
8388638 | 28 | 4333.7493
14389247 | 28 | -3181886.7148
8390539 | 28 | 3324.3509
262143 | 28 | 4319363.2188
8392470 | 28 | 2299.023
8388668 | 28 | 4317.8198
3801087 | 28 | 2440244.6503
8390539 | 28 | 3324.3509
8388638 | 28 | 4333.7493
14258175 | 28 | -3112289.7308
8392471 | 28 | 2298.492
6291455 | 28 | 1117901.954
8390539 | 28 | 3324.3509
8388638 | 28 | 4333.7493
14573567 | 27 | -3279757.4736
8390539 | 27 | 3324.3509
8388638 | 27 | 4333.7493
14454783 | 27 | -3216685.2068
8390539 | 27 | 3324.3509
8388638 | 27 | 4333.7493
14262271 | 27 | -3114464.6365
8390540 | 27 | 3323.8199
9175039 | 27 | -413231.6944
8390539 | 27 | 3324.3509
8388638 | 27 | 4333.7493
14798847 | 27 | -3399377.2899
8390540 | 27 | 3323.8199
2359295 | 27 | 3205811.4745
8390540 | 27 | 3323.8199
16252927 | 26 | -4171468.8313
8390540 | 26 | 3323.8199
1835007 | 26 | 3484199.4106
8392471 | 26 | 2298.492
2621439 | 26 | 3066617.5065
8390539 | 26 | 3324.3509
3932159 | 26 | 2370647.6663
8404058 | 26 | -3854.0063
8388638 | 26 | 4333.7493
14364671 | 26 | -3168837.2803
8390539 | 26 | 3324.3509
7864319 | 26 | 282738.1458
8390539 | 26 | 3324.3509
8388638 | 26 | 4333.7493
14479359 | 26 | -3229734.6413
8396333 | 26 | 247.8362
8388638 | 26 | 4333.7493
14061567 | 25 | -3007894.2548
8404057 | 25 | -3853.4753
8388728 | 25 | 4285.9608
8388728 | 25 | 4285.9608
8388728 | 25 | 4285.9608
8388728 | 25 | 4285.9608
8388638 | 25 | 4333.7493
14409727 | 25 | -3192761.2436
8390539 | 25 | 3324.3509
7077887 | 24 | 700320.0499
8392471 | 24 | 2298.492
2621439 | 24 | 3066617.5065
8390539 | 24 | 3324.3509
8388623 | 24 | 4341.714
11382783 | 24 | -1585505.8939
8389573 | 24 | 3837.2803
8388623 | 24 | 4341.714
11364351 | 24 | -1575718.818
8389573 | 24 | 3837.2803
8388638 | 24 | 4333.7493
14106623 | 24 | -3031818.218
8389573 | 24 | 3837.2803
2883583 | 24 | 2927423.5385
8396331 | 24 | 248.8982
8388728 | 23 | 4285.9608
8388623 | 23 | 4341.714
11343871 | 23 | -1564844.2893
8389573 | 23 | 3837.2803
8388668 | 23 | 4317.8198
3112959 | 23 | 2805628.8164
8389573 | 23 | 3837.2803
8388623 | 23 | 4341.714
11456511 | 23 | -1624654.1974
8396334 | 23 | 247.3053
3145727 | 23 | 2788229.5704
8396332 | 23 | 248.3672
8388623 | 22 | 4341.714
11397119 | 22 | -1593118.064
8390539 | 22 | 3324.3509
7602175 | 22 | 421932.1138
8390539 | 22 | 3324.3509
11534335 | 22 | -1665977.4067
8404059 | 22 | -3854.5372
16777215 | 22 | -4449856.7674
8390539 | 22 | 3324.3509
8388638 | 22 | 4333.7493
14290943 | 22 | -3129688.9768
8389573 | 22 | 3837.2803
8388623 | 22 | 4341.714
11272191 | 22 | -1526783.4386
8404056 | 22 | -3852.9443
10485759 | 21 | -1109201.5345
8404058 | 21 | -3854.0063
8388607 | 21 | 4350.2097
8392470 | 21 | 2299.023
8388638 | 21 | 4333.7493
14217215 | 21 | -3090540.6733
8390539 | 21 | 3324.3509
5767167 | 21 | 1396289.8901
8390539 | 21 | 3324.3509
8388638 | 21 | 4333.7493
14209023 | 21 | -3086190.8618
8392470 | 21 | 2299.023
7340031 | 21 | 561126.0819
8390539 | 21 | 3324.3509
5767167 | 21 | 1396289.8901
8404058 | 21 | -3854.0063
8388728 | 21 | 4285.9608
8388638 | 20 | 4333.7493
14282751 | 20 | -3125339.1653
8390539 | 20 | 3324.3509
8388638 | 20 | 4333.7493
14168063 | 20 | -3064441.8043
8390538 | 20 | 3324.8819
8388668 | 20 | 4317.8198
3579903 | 20 | 2557689.5609
8390539 | 20 | 3324.3509
2621439 | 20 | 3066617.5065
8419508 | 20 | -12057.6913
8388728 | 20 | 4285.9608
8388728 | 19 | 4285.9608
8388638 | 19 | 4333.7493
14192639 | 19 | -3077491.2388
8396332 | 19 | 248.3672
11534335 | 19 | -1665977.4067
8390538 | 19 | 3324.8819
8388638 | 19 | 4333.7493
14254079 | 19 | -3110114.825
8390539 | 19 | 3324.3509
3407871 | 19 | 2649035.6024
8390539 | 19 | 3324.3509
6029311 | 19 | 1257095.9221
8390539 | 19 | 3324.3509
12582911 | 19 | -2222753.2788
8390539 | 19 | 3324.3509
4718591 | 18 | 1953065.7622
8404055 | 18 | -3852.4133
6291455 | 18 | 1117901.954
8404052 | 18 | -3850.8204
8388728 | 18 | 4285.9608
8388849 | 18 | 4221.7119
6389759 | 18 | 1065704.216
8396332 | 18 | 248.3672
10485759 | 18 | -1109201.5345
8392469 | 18 | 2299.554
13107199 | 18 | -2501141.2149
8390539 | 18 | 3324.3509
10223615 | 18 | -970007.5665
8390539 | 18 | 3324.3509
12058623 | 18 | -1944365.3427
8390539 | 18 | 3324.3509
16252927 | 18 | -4171468.8313
8390539 | 18 | 3324.3509
14417919 | 17 | -3197111.0551
8390538 | 17 | 3324.8819
8388638 | 17 | 4333.7493
14168063 | 17 | -3064441.8043
8390539 | 17 | 3324.3509
14942207 | 17 | -3475498.9911
8390539 | 17 | 3324.3509
13893631 | 17 | -2918723.119
8390539 | 17 | 3324.3509
13631487 | 17 | -2779529.151
8404056 | 17 | -3852.9443
6291455 | 17 | 1117901.954
8404059 | 17 | -3854.5372
8388849 | 17 | 4221.7119
6651903 | 17 | 926510.248
8404058 | 17 | -3854.0063
8388728 | 17 | 4285.9608
8388638 | 16 | 4333.7493
14254079 | 16 | -3110114.825
8390539 | 16 | 3324.3509
10485759 | 16 | -1109201.5345
8450411 | 16 | -28466.6543
16777215 | 16 | -4449856.7674
8419512 | 16 | -12059.8152
8388607 | 16 | 4350.2097
8419508 | 16 | -12057.6913
8389090 | 16 | 4093.745
8389090 | 16 | 4093.745
8389090 | 16 | 4093.745
8389090 | 15 | 4093.745
8389090 | 15 | 4093.745
8389090 | 15 | 4093.745
8389090 | 15 | 4093.745
8389090 | 15 | 4093.745
8389090 | 15 | 4093.745
8389090 | 14 | 4093.745
8389090 | 14 | 4093.745
8389090 | 14 | 4093.745
8389090 | 14 | 4093.745
8389090 | 14 | 4093.745
8389091 | 14 | 4093.214
8912895 | 13 | -274037.7263
8419519 | 13 | -12063.5321
8389574 | 13 | 3836.7493
8519679 | 13 | -65246.7743
8419519 | 13 | -12063.5321
8389574 | 13 | 3836.7493
11010047 | 13 | -1387589.4706
8450435 | 13 | -28479.3979
8389573 | 13 | 3837.2803
8389573 | 13 | 3837.2803
8389574 | 13 | 3836.7493
9175039 | 12 | -413231.6944
8419523 | 12 | -12065.656
8389574 | 12 | 3836.7493
12845055 | 12 | -2361947.2469
8419530 | 12 | -12069.3729
8388607 | 12 | 4350.2097
8404066 | 12 | -3858.2541
8388849 | 12 | 4221.7119
8388668 | 12 | 4317.8198
4227071 | 12 | 2214054.4523
8390539 | 12 | 3324.3509
7077887 | 12 | 700320.0499
8392471 | 12 | 2298.492
8388849 | 12 | 4221.7119
8388849 | 11 | 4221.7119
8388668 | 11 | 4317.8198
4718591 | 11 | 1953065.7622
8390540 | 11 | 3323.8199
8388638 | 11 | 4333.7493
15110143 | 11 | -3564670.1269
8404070 | 11 | -3860.3781
4194303 | 11 | 2231453.6983
8404068 | 11 | -3859.3161
14680063 | 11 | -3336305.0231
8392473 | 11 | 2297.43
16252927 | 11 | -4171468.8313
8392473 | 11 | 2297.43
14155775 | 11 | -3057917.087
8404067 | 11 | -3858.7851
8388849 | 10 | 4221.7119
8388728 | 10 | 4285.9608
8388728 | 10 | 4285.9608
8389574 | 10 | 3836.7493
5111807 | 10 | 1744274.8102
8419535 | 10 | -12072.0278
12582911 | 10 | -2222753.2788
8419535 | 10 | -12072.0278
16777215 | 10 | -4449856.7674
8419531 | 10 | -12069.9039
16777215 | 10 | -4449856.7674
8419532 | 10 | -12070.4349
8388849 | 9 | 4221.7119
8388728 | 9 | 4285.9608
8388849 | 9 | 4221.7119
8388668 | 9 | 4317.8198
5095423 | 9 | 1752974.4332
8392474 | 9 | 2296.8991
14680063 | 9 | -3336305.0231
8419533 | 9 | -12070.9659
8388668 | 9 | 4317.8198
4972543 | 8 | 1818221.6057
8392473 | 8 | 2297.43
8388668 | 8 | 4317.8198
4956159 | 8 | 1826921.2287
8392474 | 8 | 2296.8991
2097151 | 8 | 3345005.4426
8392474 | 8 | 2296.8991
8388668 | 8 | 4317.8198
5316607 | 8 | 1635529.5226
8390541 | 8 | 3323.2889
13107199 | 8 | -2501141.2149
8392473 | 8 | 2297.43
8388849 | 8 | 4221.7119
8389091 | 8 | 4093.214
16383999 | 7 | -4241065.8153
8392474 | 7 | 2296.8991
8388668 | 7 | 4317.8198
4841471 | 7 | 1887818.5897
8390540 | 7 | 3323.8199
8388638 | 7 | 4333.7493
15437823 | 7 | -3738662.5869
8390541 | 7 | 3323.2889
8388638 | 7 | 4333.7493
15192063 | 7 | -3608168.2419
8390541 | 7 | 3323.2889
10485759 | 7 | -1109201.5345
8392473 | 7 | 2297.43
8388638 | 7 | 4333.7493
14946303 | 6 | -3477673.8969
8404069 | 6 | -3859.8471
8388849 | 6 | 4221.7119
8388668 | 6 | 4317.8198
4784127 | 6 | 1918267.2702
8390540 | 6 | 3323.8199
8388638 | 6 | 4333.7493
15179775 | 6 | -3601643.5247
8390541 | 6 | 3323.2889
11534335 | 6 | -1665977.4067
8419539 | 6 | -12074.1518
8388607 | 6 | 4350.2097
8392473 | 6 | 2297.43
8388638 | 6 | 4333.7493
15462399 | 5 | -3751712.0215 | WATER DELUGE ACTIVATED
8390541 | 5 | 3323.2889
3670015 | 5 | 2509841.6344
8390540 | 5 | 3323.8199
8388668 | 5 | 4317.8198
5611519 | 5 | 1478936.3086
8390541 | 5 | 3323.2889
8388638 | 5 | 4333.7493
15405055 | 5 | -3721263.3409
8419541 | 5 | -12075.2137
16777215 | 5 | -4449856.7674
8392474 | 5 | 2296.8991
8388607 | 5 | 4350.2097
8392473 | 5 | 2297.43
8388728 | 5 | 4285.9608
8388728 | 4 | 4285.9608
8388668 | 4 | 4317.8198
5840895 | 4 | 1357141.5866
8404071 | 4 | -3860.909
16777215 | 4 | -4449856.7674
8392474 | 4 | 2296.8991
16777215 | 4 | -4449856.7674
8419544 | 4 | -12076.8067
8388607 | 4 | 4350.2097
8404077 | 4 | -3864.0949
8388668 | 4 | 4317.8198
5824511 | 4 | 1365841.2096
8404078 | 4 | -3864.6259
8388668 | 4 | 4317.8198
5947391 | 3 | 1300594.0371
8392475 | 3 | 2296.3681
8388638 | 3 | 4333.7493
15794175 | 3 | -3927879.3872
8419586 | 3 | -12099.1079
8389092 | 3 | 4092.6831
8388850 | 3 | 4221.1809
8388729 | 3 | 4285.4298
3112959 | 3 | 2805628.8164
8396375 | 3 | 225.535
8388729 | 3 | 4285.4298
5013503 | 2 | 1796472.5482
8390550 | 2 | 3318.5101
7602175 | 2 | 421932.1138
8404149 | 2 | -3902.3257
16777215 | 2 | -4449856.7674
8404150 | 2 | -3902.8567
8388850 | 2 | 4221.1809
8388638 | 2 | 4333.7493
2891775 | 2 | 2923073.727
8390548 | 2 | 3319.572
8388668 | 2 | 4317.8198
8388850 | 2 | 4221.1809
10452991 | 1 | -1091802.2885
8404098 | 1 | -3875.2456
8388607 | 1 | 4350.2097
8404093 | 1 | -3872.5907
8388728 | 1 | 4285.9608
8388728 | 1 | 4285.9608
8388728 | 1 | 4285.9608
8388668 | 1 | 4317.8198
1925119 | 1 | 3436351.4841
8390537 | 1 | 3325.4128
8388849 | 1 | 4221.7119
262143 | 0 | 4319363.2188 | METHANOL APV: ENERGIZED
8512061 | 0 | -61201.7469
8389572 | 0 | 3837.8113
3801087 | 0 | 2440244.6503
8392467 | 0 | 2300.6159
8388849 | 0 | 4221.7119
3276799 | 0 | 2718632.5864
8396333 | 0 | 247.8362
3145727 | 0 | 2788229.5704
8396338 | 0 | 245.1813
8388607 | 0 | 4350.2097
8404076 | 0 | -3863.564
10485759 | 0 | -1109201.5345
8404067 | 0 | -3858.7851
8388729 | 0 | 4285.4298
8716287 | 0 | -169642.2503
8396360 | 0 | 233.4997
8389093 | 0 | 4092.1521
1048575 | 0 | 3901781.3147
8396379 | 0 | 223.411
7340031 | 0 | 561126.0819
8396387 | 0 | 219.1632
8388638 | 0 | 4333.7493
6770687 | 0 | 863437.9812
8419802 | 0 | -12213.8002
16777215 | 0 | -4449856.7674
8392510 | 0 | 2277.7837
8388668 | 0 | 4317.8198 | AIR APV: ENERGIZED, IGNITION
8388729 | 0 | 4285.4298
4980735 | 0 | 1813871.7942
8395915 | 0 | 469.7871
4194303 | 0 | 2231453.6983 | METHANOL APV: DE-ENERGIZED, AIR APV: DE-ENERGIZED
2062830 | 0 | 3363229.3049
8601666 | 0 | -108780.4651
8492941 | 0 | -51049.3549
8390228 | 0 | 3489.4865
8390220 | 0 | 3493.7344
8389421 | 0 | 3917.9897
15990783 | 0 | -4032274.8633
8440830 | 0 | -23379.3076
8389442 | 0 | 3906.8391
10747903 | 0 | -1248395.5026
8443723 | 0 | -24915.441
16777215 | 0 | -4449856.7674
8446748 | 0 | -26521.6641
8389569 | 0 | 3839.4042
1310719 | 0 | 3762587.3467
8450723 | 0 | -28632.3209
16777215 | 0 | -4449856.7674
8451049 | 0 | -28805.4213
8388607 | 0 | 4350.2097
8451261 | 0 | -28917.9897
16777215 | 0 | -4449856.7674
8451383 | 0 | -28982.7696
8389590 | 0 | 3828.2536
8389591 | 0 | 3827.7226
8389592 | 0 | 3827.1916
8389593 | 0 | 3826.6606
8781823 | 0 | -204440.7423
8451695 | 0 | -29148.4363
16777215 | 0 | -4449856.7674
8451701 | 0 | -29151.6222
8389594 | 0 | 3826.1297
16383999 | 0 | -4241065.8153
8451754 | 0 | -29179.7642
16777215 | 0 | -4449856.7674
8451749 | 0 | -29177.1093
8389595 | 0 | 3825.5987
13762559 | 0 | -2849126.135
8451780 | 0 | -29193.5698
16777215 | 0 | -4449856.7674
8451783 | 0 | -29195.1627
16777215 | 0 | -4449856.7674
8451790 | 0 | -29198.8796
8388607 | 0 | 4350.2097
8451820 | 0 | -29214.8091
8389596 | 0 | 3825.0677
8389597 | 0 | 3824.5367
16777215 | 0 | -4449856.7674 | MPV: DE-ENERGIZED, WATER DELUGE DE-ACTIVATED
8386517 | 0 | 5459.9639
8641441 | 0 | -129900.308
8514022 | 0 | -62243.0043
8388607 | 0 | 4350.2097
8515016 | 0 | -62770.8013
8392571 | 0 | 2245.3937
6815743 | 0 | 839514.0179
8515447 | 0 | -62999.6549
8390589 | 0 | 3297.8017
8390590 | 0 | 3297.2707
14942207 | 0 | -3475498.9911
8515515 | 0 | -63035.7617
8392574 | 0 | 2243.8008
8390591 | 0 | 3296.7398
8390592 | 0 | 3296.2088
8390594 | 0 | 3295.1468
10485759 | 0 | -1109201.5345
8515756 | 0 | -63163.7286
8388607 | 0 | 4350.2097
8515762 | 0 | -63166.9145
8388607 | 0 | 4350.2097
8515769 | 0 | -63170.6313
8390596 | 0 | 3294.0849
8392586 | 0 | 2237.429
7340031 | 0 | 561126.0819
8515907 | 0 | -63243.907
8388607 | 0 | 4350.2097
8515908 | 0 | -63244.438
8390597 | 0 | 3293.5539
7864319 | 0 | 282738.1458
8515958 | 0 | -63270.9871
8388607 | 0 | 4350.2097
8515963 | 0 | -63273.642
8390597 | 0 | 3293.5539
8390598 | 0 | 3293.0229
9961471 | 0 | -830813.5985
8515953 | 0 | -63268.3322
8390598 | 0 | 3293.0229
8390597 | 0 | 3293.5539
8390598 | 0 | 3293.0229
5505023 | 0 | 1535483.8581
8515998 | 0 | -63292.2264
8388607 | 0 | 4350.2097
8516030 | 0 | -63309.2179
8388607 | 0 | 4350.2097 | NMV: DE-ENERGIZED
3663725 | 0 | 2513181.5165
8452252 | 0 | -29444.1937
8388607 | 0 | 4350.2097
8452009 | 0 | -29315.1649
8389603 | 0 | 3821.3508
1179647 | 0 | 3832184.3307
8452319 | 0 | -29479.7696
8388607 | 0 | 4350.2097
8452335 | 0 | -29488.2653
16777215 | 0 | -4449856.7674
8452329 | 0 | -29485.0794
16777215 | 0 | -4449856.7674
8452331 | 0 | -29486.1413
8388607 | 0 | 4350.2097
8452343 | 0 | -29492.5131
8389603 | 0 | 3821.3508
TEST END SYSTEM SAFED
8389105 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389105 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389604 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
SYSTEM SAFED
8389106 | 0
TEST ABORTED
SYSTEM SAFED
YOU MAY NOW INPUT COMMANDS
**SYNTAX EX. OPEN MPV OR COMMAND VALVE**
---------- VALID COMMANDS ----------
OPEN: CAUSES SPECIFIED VALVE TO OPEN
CLOSE: CAUSES SPECIFIED VALVE TO CLOSE
---------- LIST OF VALVES ----------
MPV: METHANOL PURGE VALVE
MTAV: METHANOL AFT VALVE
NMV: NITROGEN MAIN VALVE
APV_AIR: AIR PNEUMATIC VALVE - AIR
APV_METH: AIR PNEUMATIC VALVE - METHANOL
8388732 | 0
*